## Systems
Ventilation system name | Heating system name | Cooling system name
Ventilation1 | Heating1

## Spaces
Space name
Ø20-601b-2

## Dampers
Damper name | Ventilation system | Space | Damper type | airFlowRateMax | bladeAction | bladeEdge | bladeShape | bladeThickness | closeOffRating | faceArea | frameDepth | frameThickness | frameType | leakageFullyClosed | nominalAirFlowRate | numberOfBlades | openPressureDrop | operation | operationTemperatureMax | operationTemperatureMin | orientation | temperatureRating | workingPressureMax
D_S_Ø20-601b-2 | Ventilation1 | Ø20-601b-2 | S | [11 empty] | 1.6333
D_E_Ø20-601b-2 | Ventilation1 | Ø20-601b-2 | E | [11 empty] | 1.6333

## SpaceHeaters
Space heater name | Heating system | Space | bodyMass | energySource | heatTransferDimension | heatTransferMedium | numberOfPanels | numberOfSections | outputCapacity | placementType | temperatureClassification | thermalEfficiency | thermalMassHeatCapacity
SH_Ø20-601b-2 | Heating1 | Ø20-601b-2 | [6 empty] | 2689 |  | 45/30-21 |  | 125000

## Valves
Valve name | SpaceHeater | closeOffRating | flowCoefficient | size | testPressure | valveMechanism | valveOperation | valvePattern | workingPressure
V_Ø20-601b-2 | SH_Ø20-601b-2 |  | 2.34 |  | 0.1

## HeatingCoils
Heating coil name | Ventilation system | Heating system
HC_Ventilation1_Heating1 | Ventilation1 | Heating1

## CoolingCoils
Cooling coil name | Ventilation system | Cooling system

## AirToAirHeatRecovery
Air to air heat recovery name | Ventilation system | hasDefrost | heatTransferTypeEnum | operationTemperatureMax | operationTemperatureMin | primaryAirFlowRateMax | primaryAirFlowRateMin | secondaryAirFlowRateMax | secondaryAirFlowRateMin
HR_Ventilation1 | Ventilation1 |  |  |  |  | 8.5069 |  | 8.5069

## Fan
Fan name | Ventilation system | Fan type | capacityControlType | motorDriveType | nominalAirFlowRate | nominalPowerRate | nominalRotationSpeed | nominalStaticPressure | nominalTotalPressure | operationTemperatureMax | operationTemperatureMin | operationalRiterial
F_S_Ventilation1 | Ventilation1 | S |  |  | 8.5069 | 10000
F_E_Ventilation1 | Ventilation1 | E |  |  | 8.5069 | 10000

## Controller
Controller name | Space | Controller type | K_p | K_i | K_d
C_T_Ø20-601b-2 | Ø20-601b-2 | T | 0.05 | 0.1 | 0
C_C_Ø20-601b-2 | Ø20-601b-2 | C | -0.001 | 0 | 0

## Controller_options (hidden)
T
C

## Node
Node name | Ventilation system | Node type
N_S_Ventilation1 | Ventilation1 | S
N_E_Ventilation1 | Ventilation1 | E