## Systems
Ventilation system name | Heating system name | Cooling system name
Ventilation1 | Heating1

## BuildingSpace
id | hasProperty | airVolume
Space | Ø20-601b-2_temperature;Ø20-601b-2_CO2 | 466.54

## Damper
id | subSystemOf | isContainedIn | connectedTo | hasProperty | operationMode | airFlowRateMax | bladeAction | bladeEdge | bladeShape | bladeThickness | closeOffRating | faceArea | frameDepth | frameThickness | frameType | leakageFullyClosed | nominalAirFlowRate | numberOfBlades | openPressureDrop | operation | operationTemperatureMax | operationTemperatureMin | orientation | temperatureRating | workingPressureMax
Supply damper | Ventilation1 | Space |  | Ø20-601b-2_damper_position | supply | [11 empty] | 1.6333
Exhaust damper | Ventilation1 | Space |  | Ø20-601b-2_damper_position | exhaust | [11 empty] | 1.6333

## SpaceHeater
id | subSystemOf | isContainedIn | connectedTo | hasProperty | bodyMass | energySource | heatTransferDimension | heatTransferMedium | numberOfPanels | numberOfSections | outputCapacity | placementType | temperatureClassification | thermalEfficiency | thermalMassHeatCapacity
Space heater | Heating1 | Space | Valve | Ø20-601b-2_radiator_heat | [6 empty] | 2689 |  | 45/30-21 |  | 125000

## Valve
id | subSystemOf | isContainedIn | connectedTo | hasProperty | closeOffRating | flowCoefficient | size | testPressure | valveMechanism | valveOperation | valvePattern | workingPressure
Valve | Heating1 | Space | Space heater | Ø20-601b-2_radiator_valve_position |  | 2.34 |  | 0.1

## Coil
id | subSystemOf | operationMode
Heating coil | Ventilation1;Heating1 | heating

## AirToAirHeatRecovery
id | subSystemOf | hasDefrost | heatTransferTypeEnum | operationTemperatureMax | operationTemperatureMin | primaryAirFlowRateMax | primaryAirFlowRateMin | secondaryAirFlowRateMax | secondaryAirFlowRateMin
Air to air heat recovery | Ventilation1 |  |  |  |  | 1.7014 |  | 1.7014

## Fan
id | subSystemOf | operationMode | capacityControlType | motorDriveType | nominalAirFlowRate | nominalPowerRate | nominalRotationSpeed | nominalStaticPressure | nominalTotalPressure | operationTemperatureMax | operationTemperatureMin | operationalRiterial
Supply fan | Ventilation1 | supply |  |  | 1.7014 | 1500
Exhaust fan | Ventilation1 | exhaust |  |  | 1.7014 | 1500

## Controller
id | subSystemOf | isContainedIn | controlsProperty
Temperature controller | Ventilation1 | Space | Ø20-601b-2_temperature
CO2 controller | Ventilation1 | Space | Ø20-601b-2_CO2

## ShadingDevice
id | subSystemOf | isContainedIn | hasProperty | isExternal | mechanicalOperated | roughness | shadingDeviceType | solarReflectance | solarTransmittance | thermalTransmittance | visibleLightReflectance | visibleLightTransmittance
Shade |  | Space | Ø20-601b-2_shading_position

## Sensor
id | isContainedIn | measuresProperty
Indoor temperature sensor | Space | Ø20-601b-2_temperature
Indoor CO2 sensor | Space | Ø20-601b-2_CO2
Valve position sensor | Space | Ø20-601b-2_radiator_valve_position
Damper position sensor | Space | Ø20-601b-2_damper_position
Shading position sensor | Space | Ø20-601b-2_shading_position

## Meter
id | isContainedIn | measuresProperty
Heating meter | Space | Ø20-601b-2_radiator_heat

## Property
id | type
Ø20-601b-2_temperature | Temperature
Ø20-601b-2_CO2 | CO2Concentration
Ø20-601b-2_radiator_valve_position | OpeningPosition
Ø20-601b-2_damper_position | OpeningPosition
Ø20-601b-2_shading_position | OpeningPosition
Ø20-601b-2_radiator_heat | Energy

## named_ranges
property_class
Temperature
Smoke
Price
Pressure
Power
Occupancy
Motion
Light
Humidity
Energy
DirectNormalIrradiation
CO2Concentration
OpeningPosition

## Controller_options (hidden)
T
C