## Systems
Ventilation system name | Heating system name | Cooling system name
Ventilation1 | Heating1

## BuildingSpace
id | airVolume
dummy1 | 466.54
dummy2 | 466.54
dummy3 | 466.54
dummy4 | 466.54
dummy5 | 466.54
dummy6 | 466.54
dummy7 | 466.54
dummy8 | 466.54
dummy9 | 466.54
Ø20-601b-2 | 466.54

## Damper
id | subSystemOf | isContainedIn | operationMode | airFlowRateMax | bladeAction | bladeEdge | bladeShape | bladeThickness | closeOffRating | faceArea | frameDepth | frameThickness | frameType | leakageFullyClosed | nominalAirFlowRate | numberOfBlades | openPressureDrop | operation | operationTemperatureMax | operationTemperatureMin | orientation | temperatureRating | workingPressureMax
D_supply_Ø20-601b-2 | Ventilation1 | Ø20-601b-2 | supply | [11 empty] | 1.6333
D_supply_dummy1 | Ventilation1 | dummy1 | supply | [11 empty] | 1.6333
D_supply_dummy2 | Ventilation1 | dummy2 | supply | [11 empty] | 1.6333
D_supply_dummy3 | Ventilation1 | dummy3 | supply | [11 empty] | 1.6333
D_supply_dummy4 | Ventilation1 | dummy4 | supply | [11 empty] | 1.6333
D_supply_dummy5 | Ventilation1 | dummy5 | supply | [11 empty] | 1.6333
D_supply_dummy6 | Ventilation1 | dummy6 | supply | [11 empty] | 1.6333
D_supply_dummy7 | Ventilation1 | dummy7 | supply | [11 empty] | 1.6333
D_supply_dummy8 | Ventilation1 | dummy8 | supply | [11 empty] | 1.6333
D_supply_dummy9 | Ventilation1 | dummy9 | supply | [11 empty] | 1.6333
D_exhaust_Ø20-601b-2 | Ventilation1 | Ø20-601b-2 | exhaust | [11 empty] | 1.6333
D_exhaust_dummy1 | Ventilation1 | dummy1 | exhaust | [11 empty] | 1.6333
D_exhaust_dummy2 | Ventilation1 | dummy2 | exhaust | [11 empty] | 1.6333
D_exhaust_dummy3 | Ventilation1 | dummy3 | exhaust | [11 empty] | 1.6333
D_exhaust_dummy4 | Ventilation1 | dummy4 | exhaust | [11 empty] | 1.6333
D_exhaust_dummy5 | Ventilation1 | dummy5 | exhaust | [11 empty] | 1.6333
D_exhaust_dummy6 | Ventilation1 | dummy6 | exhaust | [11 empty] | 1.6333
D_exhaust_dummy7 | Ventilation1 | dummy7 | exhaust | [11 empty] | 1.6333
D_exhaust_dummy8 | Ventilation1 | dummy8 | exhaust | [11 empty] | 1.6333
D_exhaust_dummy9 | Ventilation1 | dummy9 | exhaust | [11 empty] | 1.6333

## SpaceHeater
id | subSystemOf | isContainedIn | bodyMass | energySource | heatTransferDimension | heatTransferMedium | numberOfPanels | numberOfSections | outputCapacity | placementType | temperatureClassification | thermalEfficiency | thermalMassHeatCapacity
SH_Ø20-601b-2 | Heating1 | Ø20-601b-2 | [6 empty] | 2689 |  | 45/30-21 |  | 125000
SH_dummy1 | Heating1 | dummy1 | [6 empty] | 2689 |  | 45/30-21 |  | 125000
SH_dummy2 | Heating1 | dummy2 | [6 empty] | 2689 |  | 45/30-21 |  | 125000
SH_dummy3 | Heating1 | dummy3 | [6 empty] | 2689 |  | 45/30-21 |  | 125000
SH_dummy4 | Heating1 | dummy4 | [6 empty] | 2689 |  | 45/30-21 |  | 125000
SH_dummy5 | Heating1 | dummy5 | [6 empty] | 2689 |  | 45/30-21 |  | 125000
SH_dummy6 | Heating1 | dummy6 | [6 empty] | 2689 |  | 45/30-21 |  | 125000
SH_dummy7 | Heating1 | dummy7 | [6 empty] | 2689 |  | 45/30-21 |  | 125000
SH_dummy8 | Heating1 | dummy8 | [6 empty] | 2689 |  | 45/30-21 |  | 125000
SH_dummy9 | Heating1 | dummy9 | [6 empty] | 2689 |  | 45/30-21 |  | 125000

## Valve
id | subSystemOf | isContainedIn | closeOffRating | flowCoefficient | size | testPressure | valveMechanism | valveOperation | valvePattern | workingPressure
V_dummy1 | Heating1 | dummy1 |  | 2.34 |  | 0.1
V_dummy2 | Heating1 | dummy2 |  | 2.34 |  | 0.1
V_dummy3 | Heating1 | dummy3 |  | 2.34 |  | 0.1
V_dummy4 | Heating1 | dummy4 |  | 2.34 |  | 0.1
V_dummy5 | Heating1 | dummy5 |  | 2.34 |  | 0.1
V_dummy6 | Heating1 | dummy6 |  | 2.34 |  | 0.1
V_dummy7 | Heating1 | dummy7 |  | 2.34 |  | 0.1
V_dummy8 | Heating1 | dummy8 |  | 2.34 |  | 0.1
V_dummy9 | Heating1 | dummy9 |  | 2.34 |  | 0.1
V_Ø20-601b-2 | Heating1 | Ø20-601b-2 |  | 2.34 |  | 0.1

## Coil
id | subSystemOf | operationMode
HC_Ventilation1_Heating1 | Ventilation1;Heating1 | heating

## AirToAirHeatRecovery
id | subSystemOf | hasDefrost | heatTransferTypeEnum | operationTemperatureMax | operationTemperatureMin | primaryAirFlowRateMax | primaryAirFlowRateMin | secondaryAirFlowRateMax | secondaryAirFlowRateMin
HR_Ventilation1 | Ventilation1 |  |  |  |  | 8.5069 |  | 8.5069

## Fan
id | subSystemOf | operationMode | capacityControlType | motorDriveType | nominalAirFlowRate | nominalPowerRate | nominalRotationSpeed | nominalStaticPressure | nominalTotalPressure | operationTemperatureMax | operationTemperatureMin | operationalRiterial
F_supply_Ventilation1 | Ventilation1 | supply |  |  | 8.5069 | 10000
F_exhaust_Ventilation1 | Ventilation1 | exhaust |  |  | 8.5069 | 10000

## Controller
id | subSystemOf | isContainedIn | controllingProperty
C_temperature_Ø20-601b-2 | Heating1 | Ø20-601b-2 | temperature
C_temperature_dummy1 | Heating1 | dummy1 | temperature
C_temperature_dummy2 | Heating1 | dummy2 | temperature
C_temperature_dummy3 | Heating1 | dummy3 | temperature
C_temperature_dummy4 | Heating1 | dummy4 | temperature
C_temperature_dummy5 | Heating1 | dummy5 | temperature
C_temperature_dummy6 | Heating1 | dummy6 | temperature
C_temperature_dummy7 | Heating1 | dummy7 | temperature
C_temperature_dummy8 | Heating1 | dummy8 | temperature
C_temperature_dummy9 | Heating1 | dummy9 | temperature
C_CO2_Ø20-601b-2 | Ventilation1 | Ø20-601b-2 | CO2
C_CO2_dummy1 | Ventilation1 | dummy1 | CO2
C_CO2_dummy2 | Ventilation1 | dummy2 | CO2
C_CO2_dummy3 | Ventilation1 | dummy3 | CO2
C_CO2_dummy4 | Ventilation1 | dummy4 | CO2
C_CO2_dummy5 | Ventilation1 | dummy5 | CO2
C_CO2_dummy6 | Ventilation1 | dummy6 | CO2
C_CO2_dummy7 | Ventilation1 | dummy7 | CO2
C_CO2_dummy8 | Ventilation1 | dummy8 | CO2
C_CO2_dummy9 | Ventilation1 | dummy9 | CO2

## helperSheet
Ventilation1
Heating1

## Controller_options (hidden)
T
C